## Calculation
Determination of seasonal factors in line with Article 15
of Commission Regulation (EU) 2017/460
of 16 March 2017 establishing a network code on harmonised transmission tariff structures for gas
Calculation parameters
|  |  | Values | Max Values
Multipliers for quarterly standard capacity products |  |  | 1.2 | 1.5
Multipliers for monthly standard capacity products (max 1.5) |  |  | 1.3 | 1.5
Multipliers for daily standard capacity products (max 3) |  |  | 2.5 | 3
Multipliers for the within-day standard capacity products (max 3) |  |  | 2.5 | 3
Power E (0 <= E <= 2) |  |  | 1.3 | 2
Average daily allocation for each month [kWh]
Gas month | Year | [5 empty] | Annual share | Average 2021-2026
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026
January | 4606683587.8322 | 4628949705.7371 | 4651215823.642 | 4673481941.5469 | 4695748059.4518 | 4718014177.3567 | 0.12815 | 4662348882.5944
February | 3893154684.5469 | 3911972004.9848 | 3930789325.4226 | 3949606645.8605 | 3968423966.2983 | 3987241286.7362 | 0.1083 | 3940197985.6416
March | 3385223097.8767 | 3401585362.6588 | 3417947627.4409 | 3434309892.2231 | 3450672157.0052 | 3467034421.7874 | 0.094171 | 3426128759.832
April | 2533444709.7681 | 2545689956.8179 | 2557935203.8676 | 2570180450.9174 | 2582425697.9672 | 2594670945.017 | 0.070476 | 2564057827.3925
May | 2086440072.2287 | 2096524750.2327 | 2106609428.2368 | 2116694106.2408 | 2126778784.2448 | 2136863462.2488 | 0.058041 | 2111651767.2388
June | 1767265159.0499 | 1775807125.0109 | 1784349090.972 | 1792891056.933 | 1801433022.8941 | 1809974988.8551 | 0.049162 | 1788620073.9525
July | 1801274856.6479 | 1809981206.3619 | 1818687556.0758 | 1827393905.7898 | 1836100255.5038 | 1844806605.2177 | 0.050108 | 1823040730.9328
August | 1992127758.7117 | 2001756584.0285 | 2011385409.3453 | 2021014234.6621 | 2030643059.9789 | 2040271885.2957 | 0.055418 | 2016199822.0037
September | 2172338950.2744 | 2182838815.1499 | 2193338680.0253 | 2203838544.9008 | 2214338409.7762 | 2224838274.6517 | 0.060431 | 2198588612.463
October | 3364225036.9707 | 3380485808.9347 | 3396746580.8986 | 3413007352.8625 | 3429268124.8265 | 3445528896.7904 | 0.093587 | 3404876966.8806
November | 3910842490.749 | 3929745304.0953 | 3948648117.4417 | 3967550930.788 | 3986453744.1344 | 4005356557.4807 | 0.10879 | 3958099524.1149
December | 4568726308.604 | 4590808962.3663 | 4612891616.1286 | 4634974269.8909 | 4657056923.6532 | 4679139577.4155 | 0.12709 | 4623932943.0098
Average | 3006812226.105 | 3021345465.5316 | 3035878704.9581 | 3050411944.3847 | 3064945183.8112 | 3079478423.2377 | 1 | 3043145324.6714
Sum | 36081746713.2602 | 36256145586.3788 | 36430544459.4973 | 36604943332.6159 | 36779342205.7344 | 36953741078.853 |  | 36517743896.0566
The prescribed calculation procedure in line with Article 15 (paragraph from 2 to 5)
Note: The procedure for calculating seasonal factors for monthly standard capacity products for firm capacity is based on the forecasted flows
Article 15 (3) points a & b
(a) “the average data on the forecasted flows or the forecasted contracted capacity, where the seasonal factors are calculated for some or all of the interconnection points” (b) the resulting values referred to in point (a) shall be summed up”
Gas month | Forecasted average daily gas flow (kWh)
January | 4662348882.5944
February | 3940197985.6416
March | 3426128759.832
April | 2564057827.3925
May | 2111651767.2388
June | 1788620073.9525
July | 1823040730.9328
August | 2016199822.0037
September | 2198588612.463
October | 3404876966.8806
November | 3958099524.1149
December | 4623932943.0098
Sum | 36517743896.0566
Average | 3043145324.6714
Article 15 (3) point c
“the usage rate shall be calculated by dividing each of the resulting values referred to in point (a) by the resulting value referred to in point (b);
Gas month | The usage rate | Correction of the usage rate In case the value is 0
January | 0.12767 | 0.12767
February | 0.1079 | 0.1079
March | 0.093821 | 0.093821
April | 0.070214 | 0.070214
May | 0.057825 | 0.057825
June | 0.048979 | 0.048979
July | 0.049922 | 0.049922
August | 0.055212 | 0.055212
September | 0.060206 | 0.060206
October | 0.093239 | 0.093239
November | 0.10839 | 0.10839
December | 0.12662 | 0.12662
Sum | 1 | 1
Article 15(3) point d
“each of the resulting values referred to in point (c) shall be multiplied by 12. Where the resulting values are equal to 0, these values shall be adjusted to whichever of the following is the lower: 0,1 or the lowest of the resulting values other than 0”
Gas month | The usage rate x 12
January | 1.5321
February | 1.2948
March | 1.1259
April | 0.84257
May | 0.6939
June | 0.58775
July | 0.59906
August | 0.66254
September | 0.72247
October | 1.1189
November | 1.3007
December | 1.5195
Sum | 12
Article 15(3) point e
“the initial level of the respective seasonal factors shall be calculated by raising each of the resulting values referred to in point (d) to the same power which is no less than 0 and no more than 2”
Gas month | Seasonal factor | Seasonal factor quarterly
January | 1.7413 | 1.375
February | 1.3991 | 1.375
March | 1.1666 | 1.375
April | 0.80036 | 0.65417
May | 0.62186 | 0.65417
June | 0.50113 | 0.65417
July | 0.51371 | 0.5875
August | 0.58556 | 0.5875
September | 0.65534 | 0.5875
October | 1.1572 | 1.2917
November | 1.4074 | 1.2917
December | 1.7226 | 1.2917
Article 15(3) point f
“the arithmetic mean of the products of the resulting values referred to in point (e) and the multiplier for monthly standard capacity products shall be calculated”
Gas month | The initial level of a seasonal factor x multiplier
| Monthly | Daily | Within-day
January | 2.2637 | 4.3532 | 4.3532
February | 1.8189 | 3.4978 | 3.4978
March | 1.5166 | 2.9165 | 2.9165
April | 1.0405 | 2.0009 | 2.0009
May | 0.80841 | 1.5546 | 1.5546
June | 0.65147 | 1.2528 | 1.2528
July | 0.66782 | 1.2843 | 1.2843
August | 0.76123 | 1.4639 | 1.4639
September | 0.85194 | 1.6384 | 1.6384
October | 1.5044 | 2.893 | 2.893
November | 1.8296 | 3.5185 | 3.5185
December | 2.2394 | 4.3066 | 4.3066
Average | 1.3295 | 2.5567 | 2.5567
Article 15(3) point g
“the resulting value referred to in point (f) shall be compared with the range referred to in Article 13(1), as follows:
(i) if this value falls within this range then the level of seasonal factors shall be equal to with the respective resulting values referred to in point (e); (ii) if this value falls outside of this range then point (h) shall apply”
Article 15(3) point h
"the level of seasonal factors shall be calculated as the product of the respective resulting values referred to in point (e) and the correction factor calculated as follows:
i) where the resulting value referred to in point (f) is more than 1.5, the correction factor shall be calculated as 1.5 divided by this value; ii) where the resulting value referred to in point (f) is less than 1, the correction factor shall be calculated as 1 divided by this value."
Correction factor | Monthly | Daily | Within-day
| 1.1283 | 1.1734 | 1.1734
Gas month | Seasonal factor
| Monthly | Daily | Within-day
January | 2.2637 | 4.3532 | 4.3532
February | 1.8189 | 3.4978 | 3.4978
March | 1.5166 | 2.9165 | 2.9165
April | 1.0405 | 2.0009 | 2.0009
May | 0.80841 | 1.5546 | 1.5546
June | 0.65147 | 1.2528 | 1.2528
July | 0.66782 | 1.2843 | 1.2843
August | 0.76123 | 1.4639 | 1.4639
September | 0.85194 | 1.6384 | 1.6384
October | 1.5044 | 2.893 | 2.893
November | 1.8296 | 3.5185 | 3.5185
December | 2.2394 | 4.3066 | 4.3066
Average | 1.3295 | 2.5567 | 2.5567
Article 15(4)
“For daily standard capacity products for firm capacity and within-day standard capacity products for firm capacity, the seasonal factors shall be calculated by carrying out the steps set out in paragraph 3(f) to (h), mutatis mutandis.”
Article 15(5)
“For quarterly standard capacity products for firm capacity, the seasonal factors shall be calculated in sequential steps as follows:
(a) the initial level of the respective seasonal factors shall be calculated as either of the following: (i) equal to the arithmetic mean of the respective seasonal factors applicable for the three relevant months; (ii) (ii) no less than the lowest and no more than the highest level of the respective seasonal factors applicable for the three relevant months.”
“(b) the steps set out in paragraph 3(f) to (h) shall be carried out, using the resulting values referred to in point (a), mutatis mutandis.”
| (i) Arithmetic mean | (ii) Minimum <=seasonal factor <= maximum
Gas quarter | Seasonal factor | Seasonal factorminimum | Seasonal factormaximum
Q2 | 1.65 | 1.5166 | 2.2637
Q3 | 0.785 | 0.65147 | 1.0405
Q4 | 0.705 | 0.66782 | 0.85194
Q1 | 1.55 | 1.5044 | 2.2394
Article 15(6)
“For all non-yearly standard capacity products for firm capacity, the values resulting from the calculation referred to in paragraphs 3 to 5 may be rounded up or down.”
Seasonal factor
Gas month | Forecasted average daily gas flow | Quarterly | Monthly | Daily | Within-day
January | 4662348882.5944 | 1.65 | 2.264 | 4.353 | 4.353
February | 3940197985.6416 | 1.65 | 1.819 | 3.498 | 3.498
March | 3426128759.832 | 1.65 | 1.517 | 2.917 | 2.917
April | 2564057827.3925 | 0.785 | 1.04 | 2.001 | 2.001
May | 2111651767.2388 | 0.785 | 0.808 | 1.555 | 1.555
June | 1788620073.9525 | 0.785 | 0.651 | 1.253 | 1.253
July | 1823040730.9328 | 0.705 | 0.668 | 1.284 | 1.284
August | 2016199822.0037 | 0.705 | 0.761 | 1.464 | 1.464
September | 2198588612.463 | 0.705 | 0.852 | 1.638 | 1.638
October | 3404876966.8806 | 1.55 | 1.504 | 2.893 | 2.893
November | 3958099524.1149 | 1.55 | 1.83 | 3.518 | 3.518
December | 4623932943.0098 | 1.55 | 2.239 | 4.307 | 4.307
Average |  | 1.1725 | 1.3294 | 2.5568 | 2.5568