## Seasonal factors
Determination of seasonal factors in line with Article 15
of Commission Regulation (EU) 2017/460
of 16 March 2017 establishing a network code on harmonised transmission tariff structures for gas
Calculation parameters
|  |  | Values | Max Values
Multipliers for quarterly standard capacity products |  |  | 1.2 | 1.5
Multipliers for monthly standard capacity products (max 1.5) |  |  | 1.3 | 1.5
Multipliers for daily standard capacity products (max 3) |  |  | 2.5 | 3
Multipliers for the within-day standard capacity products (max 3) |  |  | 2.5 | 3
Power E (0 <= E <= 2) |  |  | 2 | 2
Average expected annual gas flow rate per month [kWh]
Gas month | Year |  |  |  |  | Annual share | Average 2026 - 2030
| 2026 | 2027 | 2028 | 2029 | 2030
January | 4173749417.6534 | 5335931500.1381 | 5306082368.5124 | 5229510534.0357 | 5222226518.1675 | 0.10552 | 5053500067.7014
February | 3095594027.839 | 4247047996.2295 | 4220946654.0659 | 4140314282.1278 | 4124186912.4738 | 0.082806 | 3965617974.5472
March | 2914971402.1437 | 4064628097.0105 | 4039154619.4197 | 3957841988.4531 | 3940233097.8645 | 0.079 | 3783365840.9783
April | 2501383744.587 | 3644650251.3751 | 3621409140.0075 | 3537677854.8533 | 3514801431.3656 | 0.070243 | 3363984484.4377
May | 2519523060.4972 | 3659689118.9499 | 3637531126.8982 | 3552626337.5752 | 3527194165.5855 | 0.070563 | 3379312761.9012
June | 2395013756.6651 | 3531759331.913 | 3510796261.056 | 3424596835.9687 | 3396345105.6827 | 0.067899 | 3251702258.2571
July | 2709388226.919 | 3849621886.012 | 3827440278.1631 | 3742561075.3439 | 3717184627.6292 | 0.074529 | 3569239218.8134
August | 2797106436.0733 | 3938978402.0969 | 3916224463.5106 | 3831965351.6605 | 3807939386.2085 | 0.076392 | 3658442807.91
September | 3136439332.8546 | 4283989770.3274 | 4259252098.6011 | 4177142259.7584 | 4157797147.9538 | 0.083585 | 4002924121.8991
October | 3376150234.0387 | 4528012871.65 | 4501768763.8348 | 4421291071.1503 | 4405500573.9858 | 0.088672 | 4246544702.9319
November | 3617835834.042 | 4774486335.0794 | 4746569621.6285 | 4667904111.2746 | 4656060325.5062 | 0.093809 | 4492571245.5061
December | 4242915711.1236 | 5405786028.2494 | 5375696466.8042 | 5299385125.6927 | 5292668432.5027 | 0.10698 | 5123290352.8745
Average | 3123339265.3697 | 4272048465.7526 | 4246905988.5418 | 4165234735.6578 | 4146844810.4105 | 1 | 3990874653.1465
Sum | 37480071184.4367 | 51264581589.0311 | 50962871862.5022 | 49982816827.8942 | 49762137724.9258 |  | 47890495837.758
The prescribed calculation procedure in line with Article 15 (paragraph from 2 to 5)
Note: The procedure for calculating seasonal factors for monthly standard capacity products for firm capacity is based on the forecasted flows
Article 15 (3) points a & b
(a) “the average data on the forecasted flows or the forecasted contracted capacity, where the seasonal factors are calculated for some or all of the interconnection points” (b) "the resulting values referred to in point (a) shall be summed up”
Gas month | Forecasted average monthly gas flow (kWh)
January | 5053500067.7014
February | 3965617974.5472
March | 3783365840.9783
April | 3363984484.4377
May | 3379312761.9012
June | 3251702258.2571
July | 3569239218.8134
August | 3658442807.91
September | 4002924121.8991
October | 4246544702.9319
November | 4492571245.5061
December | 5123290352.8745
Sum | 47890495837.758
Average | 3990874653.1465
Article 15 (3) point c
“the usage rate shall be calculated by dividing each of the resulting values referred to in point (a) by the resulting value referred to in point (b)"
Gas month | The usage rate | Correction of the usage rate In case the value is 0
January | 0.10552 | 0.10552
February | 0.082806 | 0.082806
March | 0.079 | 0.079
April | 0.070243 | 0.070243
May | 0.070563 | 0.070563
June | 0.067899 | 0.067899
July | 0.074529 | 0.074529
August | 0.076392 | 0.076392
September | 0.083585 | 0.083585
October | 0.088672 | 0.088672
November | 0.093809 | 0.093809
December | 0.10698 | 0.10698
Sum | 1 | 1
Article 15(3) point d
“each of the resulting values referred to in point (c) shall be multiplied by 12. Where the resulting values are equal to 0, these values shall be adjusted to whichever of the following is the lower: 0,1 or the lowest of the resulting values other than 0”
Gas month | The usage rate x 12
January | 1.2663
February | 0.99367
March | 0.948
April | 0.84292
May | 0.84676
June | 0.81478
July | 0.89435
August | 0.9167
September | 1.003
October | 1.0641
November | 1.1257
December | 1.2838
Sum | 12
Article 15(3) point e
“the initial level of the respective seasonal factors shall be calculated by raising each of the resulting values referred to in point (d) to the same power which is no less than 0 and no more than 2”
Gas month | Seasonal factor | Seasonal factor quarterly
January | 1.6034 | 1.2601
February | 0.98738 | 1.2601
March | 0.89871 | 1.2601
April | 0.71051 | 0.75522
May | 0.717 | 0.75522
June | 0.66387 | 0.75522
July | 0.79986 | 0.95559
August | 0.84034 | 0.95559
September | 1.006 | 0.95559
October | 1.1322 | 1.4616
November | 1.2672 | 1.4616
December | 1.648 | 1.4616
Article 15(3) point f
“the arithmetic mean of the products of the resulting values referred to in point (e) and the multiplier for monthly standard capacity products shall be calculated”
Gas month | The initial level of a seasonal factor x multiplier
| Monthly | Daily | Within-day
January | 2.0845 | 4.0086 | 4.0086
February | 1.2836 | 2.4685 | 2.4685
March | 1.1683 | 2.2468 | 2.2468
April | 0.92367 | 1.7763 | 1.7763
May | 0.9321 | 1.7925 | 1.7925
June | 0.86304 | 1.6597 | 1.6597
July | 1.0398 | 1.9997 | 1.9997
August | 1.0924 | 2.1009 | 2.1009
September | 1.3079 | 2.5151 | 2.5151
October | 1.4719 | 2.8306 | 2.8306
November | 1.6474 | 3.1681 | 3.1681
December | 2.1424 | 4.12 | 4.12
Average | 1.3298 | 2.5572 | 2.5572
Article 15(3) point g
“the resulting value referred to in point (f) shall be compared with the range referred to in Article 13(1), as follows:
(i) if this value falls within this range then the level of seasonal factors shall be equal to with the respective resulting values referred to in point (e); (ii) if this value falls outside of this range then point (h) shall apply”
Article 15(3) point h
"the level of seasonal factors shall be calculated as the product of the respective resulting values referred to in point (e) and the correction factor calculated as follows:
i) where the resulting value referred to in point (f) is more than 1.5, the correction factor shall be calculated as 1.5 divided by this value; ii) where the resulting value referred to in point (f) is less than 1, the correction factor shall be calculated as 1 divided by this value."
Correction factor | Monthly | Daily | Within-day
| 1.128 | 1.1732 | 1.1732
Gas month | The level of a seasonal factor x multiplier
| Monthly | Daily | Within-day
January | 2.0845 | 4.0086 | 4.0086
February | 1.2836 | 2.4685 | 2.4685
March | 1.1683 | 2.2468 | 2.2468
April | 0.92367 | 1.7763 | 1.7763
May | 0.9321 | 1.7925 | 1.7925
June | 0.86304 | 1.6597 | 1.6597
July | 1.0398 | 1.9997 | 1.9997
August | 1.0924 | 2.1009 | 2.1009
September | 1.3079 | 2.5151 | 2.5151
October | 1.4719 | 2.8306 | 2.8306
November | 1.6474 | 3.1681 | 3.1681
December | 2.1424 | 4.12 | 4.12
Average | 1.3298 | 2.5572 | 2.5572
Article 15(4)
“For daily standard capacity products for firm capacity and within-day standard capacity products for firm capacity, the seasonal factors shall be calculated by carrying out the steps set out in paragraph 3(f) to (h), mutatis mutandis.”
Article 15(5)
“For quarterly standard capacity products for firm capacity, the seasonal factors shall be calculated in sequential steps as follows:
(a) the initial level of the respective seasonal factors shall be calculated as either of the following: (i) equal to the arithmetic mean of the respective seasonal factors applicable for the three relevant months; (ii) (ii) no less than the lowest and no more than the highest level of the respective seasonal factors applicable for the three relevant months.”
“(b) the steps set out in paragraph 3(f) to (h) shall be carried out, using the resulting values referred to in point (a), mutatis mutandis.”
| (i) Arithmetic mean | (ii) Minimum <=seasonal factor <= maximum
Gas quarter | Seasonal factor | Seasonal factorminimum | Seasonal factormaksimum
Q2 | 1.5121 | 1.1683 | 2.0845
Q3 | 0.90627 | 0.86304 | 0.9321
Q4 | 1.1467 | 1.0398 | 1.3079
Q1 | 1.7539 | 1.4719 | 2.1424
Article 15(6)
“For all non-yearly standard capacity products for firm capacity, the values resulting from the calculation referred to in paragraphs 3 to 5 may be rounded up or down.”
The level of a seasonal factor x multiplier 2026 - 2030 | [5 empty] | Seasonal factors 2026 - 2030
Gas month | Forecasted average monthly gas flow | Quarterly | Monthly | Daily / Within-day |  | Gas month | Quarterly | Monthly | Daily / Within-day
January | 5053.5001 | 1.65 | 2.1 | 4.0385 |  | January | 1.375 | 1.6154 | 1.6154
February | 3965.618 | 1.65 | 1.7 | 3.2692 |  | February | 1.375 | 1.3077 | 1.3077
March | 3783.3658 | 1.65 | 1.4 | 2.6923 |  | March | 1.375 | 1.0769 | 1.0769
April | 3363.9845 | 0.95 | 1.1 | 2.1154 |  | April | 0.7917 | 0.8462 | 0.8462
May | 3379.3128 | 0.95 | 0.9 | 1.7308 |  | May | 0.7917 | 0.6923 | 0.6923
June | 3251.7023 | 0.95 | 0.85 | 1.6346 |  | June | 0.7917 | 0.6538 | 0.6538
July | 3569.2392 | 1.1 | 0.95 | 1.8269 |  | July | 0.9167 | 0.7308 | 0.7308
August | 3658.4428 | 1.1 | 1 | 1.9231 |  | August | 0.9167 | 0.7692 | 0.7692
September | 4002.9241 | 1.1 | 1.2 | 2.3077 |  | September | 0.9167 | 0.9231 | 0.9231
October | 4246.5447 | 1.65 | 1.4 | 2.6923 |  | October | 1.375 | 1.0769 | 1.0769
November | 4492.5712 | 1.65 | 1.7 | 3.2692 |  | November | 1.375 | 1.3077 | 1.3077
December | 5123.2904 | 1.65 | 2.1 | 4.0385 |  | December | 1.375 | 1.6154 | 1.6154
Average |  | 1.3375 | 1.3667 | 2.6282 |  | Average | 1.1146 | 1.0513 | 1.0513